# HMI Touch color for Rack Application

## Quick Start guide

Application 2.7.3 -  HMI Touch color Version version 1.3

- Connect HMI RS485 to the RS485-1 port of the Main Appliation

RS485-1

RS485

- Enter in the key logo and enter the installer password “1”.

- The gear icon will be available, and You will be able to enter in the service menu.

- Select the Alarm Icon to check the active alarm

- Select the compressor icon to see the compressor status

The Compressor detail will be show