## Legenda
Sheet
Version | P04354 v01
Device
Device Timeout | 600
Device buffer RX (bytes) | 14
Device buffer TX (bytes) | 7
Document info | 1.11
Author
Date last update | 2014-09-09
Firmware Mask | CUSTOM(20000)
Firmware Version | 1
Document version | 1
Network Address Filter | 1-255
Baud Rate | 9600
Parity | E
Protocol | MODBUS
Filename | EWFC_baseline.bin

## Models
POLI | MODEL_NAME | PARAM_MANAGER_NAME | PARAM_MANAGER_NAME_MODBUS
121 | FakeMB mini | FakeMBmini | FakeMBmini
130 | FakeMB midi | FakeMBmidi | FakeMBmidi
170 | FakeMB max
512 | EWFC baseline rel. 1.5.2
Note on A1: Guido Bertella: POLI Example: 1025 1026 etc.
Note on C1: Guido Bertella: Example: ID 961LX ID 974LX etc.

## DataAcquisitionInit
FUNCTION | PROTOCOL | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
IDENTIFICATION | ANY | 0: SET(MODELCODE)=Client(ident)
Note on A1: Use IDENTIFICATION to provide a custom identification program.
Note on B1: Protocol: MICRONET MODBUS ANY
Note on D1: This is the last expression of the IDENTIFICATION program. When evaluated with data retrieved from the device, If its result is TRUE (a number > 0) the driver will be assigned to the device, if its is FALSE (a number = 0) the driver won't be assigne dto the device

## ParamsDefaults
INDEX | LABEL | 512
|  | MODBUS | MODBUS | MODBUS
1 | _1001_SEt1 | 20
2 | _1001_SEt2 | -150
3 | _1002_diF | 20
4 | _1003_HSE | 500
5 | _1004_LSE | -500
6 | _1009_Ont | 10
7 | _1010_OFt | 10
8 | _1011_dOn | 10
9 | _1012_dOF | 0
10 | _1013_dbi | 2
11 | _1014_OdO | 0
12 | _1028_dtY | 0
13 | _1032_dCt | 0
14 | _1033_dOH | 0
15 | _1036_dPO | 0
16 | _1040_FSt | 100
17 | _1042_FAd | 10
18 | _1043_Fdt | 0
19 | _1044_dt | 0
20 | _1045_dFd | 1
21 | _1046_FCO | 1
22 | _1048_FdC | 0
23 | _1079_Att | 1
24 | _1080_AFd | 10
25 | _1081_HAA | 500
26 | _1082_LAA | -500
27 | _1081_HAC | 500
28 | _1082_LAC | -500
29 | _1083_PAO | 1
30 | _1084_dAO | 60
31 | _1085_OAO | 30
32 | _1086_tdO | 10
33 | _1087_AtA | 1
34 | _1095_dAt | 0
35 | _1096_rLO | 0
36 | _1104_dSd | 1
37 | _1105_dLt | 0
38 | _1106_OFL | 0
39 | _1159_H11 | 1
40 | _1160_H12 | 4
41 | _1161_H13 | 6
42 | _1162_H14 | 5
43 | _1163_H15 | 7
44 | _1164_H16 | 3
45 | _1165_H17 | 2
46 | _1166_H18 | 0
47 | _1168_H21 | 1
48 | _1169_H22 | 2
49 | _1170_H23 | 3
50 | _1171_H24 | 4
51 | _1172_H25 | 5
52 | _1173_H26 | 6
53 | _1174_H27 | 7
54 | _1180_H41 | 1
55 | _1181_H42 | 2
56 | _1182_H43 | 3
57 | LocalState | 0
58 | _1189_tCA | 30
59 | _1189_tcC | 30
60 | _1029_diA | 6
61 | _1029_diC | 6
62 | _1034_dEA | 60
63 | _1034_dEC | 60
64 | _1040_FSA | 150
65 | _1040_FSC | 150
66 | _1007_SCA | 50
67 | _1007_SCC | -225
68 | _1008_SSA | 100
69 | _1008_SSC | -220
70 | _1015_i1A | 120
71 | _1016_i1C | 120
72 | _1047_dod | 1
73 | _1017_CA1 | 0
74 | _1017_CA2 | 0
75 | _1018_SFC | 50
76 | _1019_S1C | 10
77 | _1020_dSr | 1
78 | _1021_dPS | 100
79 | _1005_Cyc | 1
80 | _1015_iSC | 120
81 | _1001_SEt3 | 40
82 | _1001_SEt4 | -200
83 | _1049_FQC | 2
84 | _1190_Stt | 15
85 | _1191_S_T | 50
86 | _1192_Ipt | 2
87 | _1193_I_T | 40
88 | _1049_FHC | 2
89 | RTCHours | 0
90 | RTCMinutes | 0
91 | RTCDay | 0
92 | RTCMonth | 1
93 | RTCYear | 14
94 | RTCConfirmUpgrade | 0
Note on A1: Use Progressive Unique number starting from 1
Note on B1: USE The Same Label List as reportd in PARAMS.
Note on C1: IDENTIFICATION CODE Client(Ident)
Note on D1: IDENTIFICATION CODE Client(Ident)
Note on E1: IDENTIFICATION CODE Client(Ident)

## Params
INDEX | LABEL | DESCRIPTION | DESCRIPTION_CODE | PROGRESSIVE | GROUPS | LOW_LIMIT | HIGH_LIMIT | FORMAT | COMPLEMENTED | MEASUREMENT_UNIT_DESC | MODBUS_COMMAND | MODBUS_ADDRESS | FILTER | R_W_RW | VISIBILITY_LEVEL | MEASUREMENT_UNIT | MICRONET_COMMAND | MICRONET_ADDRESS | MICRONET_SIZE_SUBADDRESS
1 | _1001_SEt1 | Cooling setpoint during cycle 3 | CUS40000 | Cooling setpoint during cycle 3 |  | -3200 | 3200 | CONST(-1) | TRUE | °C | P | 16383 | HFFFF | RW |  | CONST(VMU00000)
2 | _1001_SEt2 | Cooling setpoint during cycle 4 | CUS40000 | Cooling setpoint during cycle 4 |  | -3200 | 3200 | CONST(-1) | TRUE | °C | P | 16384 | HFFFF | RW |  | CONST(VMU00000)
3 | _1002_diF | Differential | CUS40000 | Differential |  | 0 | 300 | CONST(-1) | TRUE | °C | P | 16385 | HFFFF | RW |  | CONST(VMU00000)
4 | _1003_HSE | Maximum setpoint value | CUS40000 | Maximum setpoint value |  | -3200 | 1100 | CONST(-1) | TRUE | °C | P | 16386 | HFFFF | RW |  | CONST(VMU00000)
5 | _1004_LSE | Minimum setpoint value | CUS40000 | Minimum setpoint value |  | -500 | 3200 | CONST(-1) | TRUE | °C | P | 16387 | HFFFF | RW |  | CONST(VMU00000)
6 | _1009_Ont | Compressor time on, when probe is broken | CUS40000 | Compressor time on, when probe is broken |  | 0 | 255 |  |  | minutes | P | 16392 | HFFFF | RW |  | CONST(VMU00018)
7 | _1010_OFt | Compressor time off, when probe is broken | CUS40000 | Compressor time off, when probe is broken |  | 0 | 255 |  |  | minutes | P | 16393 | HFFFF | RW |  | CONST(VMU00018)
8 | _1011_dOn | Switching-on time delay | CUS40000 | Switching-on time delay |  | 0 | 1000 |  |  | seconds | P | 16394 | HFFFF | RW |  | CONST(VMU00017)
9 | _1012_dOF | Switching-off time delay | CUS40000 | Switching-off time delay |  | 0 | 1000 |  |  | seconds | P | 16395 | HFFFF | RW |  | CONST(VMU00017)
10 | _1013_dbi | Time delay between consecutive switching-ons | CUS40000 | Time delay between consecutive switching-ons |  | 0 | 255 |  |  | minutes | P | 16396 | HFFFF | RW |  | CONST(VMU00018)
11 | _1014_OdO | Power-on time delay | CUS40000 | Power-on time delay |  | 0 | 255 |  |  | minutes | P | 16397 | HFFFF | RW |  | CONST(VMU00018)
12 | _1028_dtY | Defrost type | CUS40000 | Defrost type |  | 0 | 1 |  |  | none | P | 16411 | H00FF | RW |  | CONST(VMU00020)
13 | _1032_dCt | Defrost time interval counting type | CUS40000 | Defrost time interval counting type |  | 0 | 3 |  |  | none | P | 16415 | H00FF | RW |  | CONST(VMU00020)
14 | _1033_dOH | Power-on exclusion of defrost | CUS40000 | Power-on exclusion of defrost |  | 0 | 59 |  |  | minutes | P | 16416 | HFFFF | RW |  | CONST(VMU00018)
15 | _1036_dPO | Defrost at power-on | CUS40000 | Defrost at power-on |  | 0 | 1 |  |  | none | P | 16419 | H0001 | RW |  | CONST(VMU00020)
16 | _1040_FSt | Fan stop temperature | CUS40000 | Fan stop temperature |  | -3020 | 14720 | CONST(-1) | TRUE | °C | P | 16423 | HFFFF | RW |  | CONST(VMU00000)
17 | _1042_FAd | Fan differential | CUS40000 | Fan differential |  | 10 | 500 | CONST(-1) | TRUE | °C | P | 16425 | HFFFF | RW |  | CONST(VMU00000)
18 | _1043_Fdt | Fan delay time | CUS40000 | Fan delay time |  | 0 | 255 |  |  | minutes | P | 16426 | HFFFF | RW |  | CONST(VMU00018)
19 | _1044_dt | Drainage time | CUS40000 | Drainage time |  | 0 | 255 |  |  | minutes | P | 16427 | HFFFF | RW |  | CONST(VMU00018)
20 | _1045_dFd | Defrost fan disable | CUS40000 | Defrost fan disable |  | 0 | 1 |  |  | none | P | 16428 | H0001 | RW |  | CONST(VMU00020)
21 | _1046_FCO | Fan when compressor OFF | CUS40000 | Fan when compressor OFF |  | 0 | 2 |  |  | none | P | 16429 | H00FF | RW |  | CONST(VMU00020)
22 | _1048_FdC | Fan delay when compressor OFF | CUS40000 | Fan delay when compressor OFF |  | 0 | 99 |  |  | none | P | 16431 | HFFFF | RW |  | CONST(VMU00020)
23 | _1079_Att | Temperature alarm value type (absolute/relative) | CUS40000 | Temperature alarm value type (absolute/relative) |  | 0 | 1 |  |  | none | P | 16462 | H00FF | RW |  | CONST(VMU00020)
24 | _1080_AFd | Temperature alarm differential | CUS40000 | Temperature alarm differential |  | 0 | 600 | CONST(-1) | TRUE | °C | P | 16463 | HFFFF | RW |  | CONST(VMU00000)
25 | _1081_HAA | High temperature alarm value cycle 1,3,5 | CUS40000 | High temperature alarm value cycle 1,3,5 |  | 0 | 600 | CONST(-1) | TRUE | °C | P | 16464 | HFFFF | RW |  | CONST(VMU00000)
26 | _1082_LAA | Low temperature alarm value cycle 1,3,5 | CUS40000 | Low temperature alarm value cycle 1,3,5 |  | 0 | 600 | CONST(-1) | TRUE | °C | P | 16465 | HFFFF | RW |  | CONST(VMU00000)
27 | _1081_HAC | High temperature alarm value cycle 2,4,6 | CUS40000 | High temperature alarm value cycle 2,4,6 |  | 0 | 600 | CONST(-1) | TRUE | °C | P | 16388 | HFFFF | RW |  | CONST(VMU00000)
28 | _1082_LAC | Low temperature alarm value cycle 2,4,6 | CUS40000 | Low temperature alarm value cycle 2,4,6 |  | 0 | 600 | CONST(-1) | TRUE | °C | P | 16390 | HFFFF | RW |  | CONST(VMU00000)
29 | _1083_PAO | Power-on exclusion of temperature alarm | CUS40000 | Power-on exclusion of temperature alarm |  | 0 | 10 |  |  | Hours | P | 16466 | HFFFF | RW |  | CONST(VMU00019)
30 | _1084_dAO | After defrost exclusion of temperature alarm | CUS40000 | After defrost exclusion of temperature alarm |  | 0 | 999 |  |  | minutes | P | 16467 | HFFFF | RW |  | CONST(VMU00018)
31 | _1085_OAO | After door closure exclusion of temperature alarm | CUS40000 | After door closure exclusion of temperature alarm |  | 0 | 900 |  |  | minutes | P | 16468 | HFFFF | RW |  | CONST(VMU00018)
32 | _1086_tdO | Door open exclusion | CUS40000 | Door open exclusion |  | 0 | 255 |  |  | minutes | P | 16469 | HFFFF | RW |  | CONST(VMU00018)
33 | _1087_AtA | Temperature alarm delay | CUS40000 | Temperature alarm delay |  | 0 | 255 |  |  | minutes | P | 16470 | HFFFF | RW |  | CONST(VMU00018)
34 | _1095_dAt | Alarm on defrost timeout | CUS40000 | Alarm on defrost timeout |  | 0 | 1 |  |  | none | P | 16478 | H0001 | RW |  | CONST(VMU00020)
35 | _1096_rLO | Regulators locked by external alarm | CUS40000 | Regulators locked by external alarm |  | 0 | 2 |  |  | none | P | 16479 | H00FF | RW |  | CONST(VMU00020)
36 | _1104_dSd | Light ON when door open | CUS40000 | Light ON when door open |  | 0 | 1 |  |  | none | P | 16487 | H0001 | RW |  | CONST(VMU00020)
37 | _1105_dLt | Light OFF delay | CUS40000 | Light OFF delay |  | 0 | 31 |  |  | minutes | P | 16488 | HFFFF | RW |  | CONST(VMU00018)
38 | _1106_OFL | Light OFF from D.I. | CUS40000 | Light OFF from D.I. |  | 0 | 1 |  |  | none | P | 16489 | H0001 | RW |  | CONST(VMU00020)
39 | _1159_H11 | DIL1 configuration | CUS40000 | DIL1 configuration |  | -8 | 8 |  | TRUE | none | P | 16546 | HFFFF | RW |  | CONST(VMU00020)
40 | _1160_H12 | DIL2 configuration | CUS40000 | DIL2 configuration |  | -8 | 8 |  | TRUE | none | P | 16547 | HFFFF | RW |  | CONST(VMU00020)
41 | _1161_H13 | DIL3 configuration | CUS40000 | DIL3 configuration |  | -8 | 8 |  | TRUE | none | P | 16548 | HFFFF | RW |  | CONST(VMU00020)
42 | _1162_H14 | DIL4 configuration | CUS40000 | DIL4 configuration |  | -8 | 8 |  | TRUE | none | P | 16549 | HFFFF | RW |  | CONST(VMU00020)
43 | _1163_H15 | DIL5 configuration | CUS40000 | DIL5 configuration |  | -8 | 8 |  | TRUE | none | P | 16550 | HFFFF | RW |  | CONST(VMU00020)
44 | _1164_H16 | DIL6 configuration | CUS40000 | DIL6 configuration |  | -8 | 8 |  | TRUE | none | P | 16551 | HFFFF | RW |  | CONST(VMU00020)
45 | _1165_H17 | DIL7 configuration | CUS40000 | DIL7 configuration |  | -8 | 8 |  | TRUE | none | P | 16552 | HFFFF | RW |  | CONST(VMU00020)
46 | _1166_H18 | DIL8 configuration | CUS40000 | DIL8 configuration |  | -8 | 8 |  | TRUE | none | P | 16553 | HFFFF | RW |  | CONST(VMU00020)
47 | _1168_H21 | DOL1 configuration | CUS40000 | DOL1 configuration |  | -7 | 7 |  | TRUE | none | P | 16556 | H00FF | RW |  | CONST(VMU00020)
48 | _1169_H22 | DOL2 configuration | CUS40000 | DOL2 configuration |  | -7 | 7 |  | TRUE | none | P | 16557 | H00FF | RW |  | CONST(VMU00020)
49 | _1170_H23 | DOL3 configuration | CUS40000 | DOL3 configuration |  | -7 | 7 |  | TRUE | none | P | 16558 | H00FF | RW |  | CONST(VMU00020)
50 | _1171_H24 | DOL4configuration | CUS40000 | DOL4configuration |  | -7 | 7 |  | TRUE | none | P | 16559 | H00FF | RW |  | CONST(VMU00020)
51 | _1172_H25 | DOL5 configuration | CUS40000 | DOL5 configuration |  | -7 | 7 |  | TRUE | none | P | 16560 | H00FF | RW |  | CONST(VMU00020)
52 | _1173_H26 | DOL6 configuration | CUS40000 | DOL6 configuration |  | -7 | 7 |  | TRUE | none | P | 16561 | H00FF | RW |  | CONST(VMU00020)
53 | _1174_H27 | DOL7 configuration | CUS40000 | DOL7 configuration |  | -7 | 7 |  | TRUE | none | P | 16562 | H00FF | RW |  | CONST(VMU00020)
54 | _1180_H41 | Probe 1 - cabinet temperature - configuration | CUS40000 | Probe 1 - cabinet temperature - configuration |  | 0 | 6 |  |  | none | P | 16568 | H00FF | RW |  | CONST(VMU00020)
55 | _1181_H42 | Probe 2 - evaporator temperature - configuration | CUS40000 | Probe 2 - evaporator temperature - configuration |  | 0 | 6 |  |  | none | P | 16569 | H00FF | RW |  | CONST(VMU00020)
56 | _1182_H43 | Probe 3 - Food Probe | CUS40000 | Probe 3 - Food Probe |  | 0 | 6 |  |  | none | P | 16570 | H00FF | RW |  | CONST(VMU00020)
57 | LocalState | Local state setting (ON/OFF) | CUS40000 | Local state setting (ON/OFF) |  | 0 | 1 |  |  | none | P | 16695 | H00FF | RW |  | CONST(VMU00020)
58 | _1189_tCA | Defrost timeout cycle 1,3,5 | CUS40000 | Defrost timeout cycle 1,3,5 |  | 1 | 255 |  |  | minutes | P | 16391 | HFFFF | RW |  | CONST(VMU00018)
59 | _1189_tcC | Defrost timeout cycle 2,4,6 | CUS40000 | Defrost timeout cycle 2,4,6 |  | 1 | 255 |  |  | minutes | P | 16398 | HFFFF | RW |  | CONST(VMU00018)
60 | _1029_diA | Defrost time interval cyle 1,3,5 | CUS40000 | Defrost time interval cyle 1,3,5 |  | 0 | 255 |  |  | Hours | P | 16399 | HFFFF | RW |  | CONST(VMU00019)
61 | _1029_diC | Defrost time interval cycle 2,4,6 | CUS40000 | Defrost time interval cycle 2,4,6 |  | 0 | 255 |  |  | Hours | P | 16400 | HFFFF | RW |  | CONST(VMU00019)
62 | _1034_dEA | Defrost stop temperature cyle 1,3,5 | CUS40000 | Defrost stop temperature cyle 1,3,5 |  | -3020 | 14720 | CONST(-1) | TRUE | °C | P | 16401 | HFFFF | RW |  | CONST(VMU00000)
63 | _1034_dEC | Defrost stop temperature cycle 2,4,6 | CUS40000 | Defrost stop temperature cycle 2,4,6 |  | -3020 | 14720 | CONST(-1) | TRUE | °C | P | 16403 | HFFFF | RW |  | CONST(VMU00000)
64 | _1040_FSA | Fan stop temperature cyle 1,3,5 | CUS40000 | Fan stop temperature cyle 1,3,5 |  | -3200 | 3200 | CONST(-1) | TRUE | °C | P | 16408 | HFFFF | RW |  | CONST(VMU00000)
65 | _1040_FSC | Fan stop temperature cycle 2,4,6 | CUS40000 | Fan stop temperature cycle 2,4,6 |  | -3200 | 3200 | CONST(-1) | TRUE | °C | P | 16409 | HFFFF | RW |  | CONST(VMU00000)
66 | _1007_SCA | Cabinet Cooling setpoint during cycle 1 and chilling phase cycle 5 | CUS40000 | Cabinet Cooling setpoint during cycle 1 and chilling phase cycle 5 |  | -3200 | 3200 | CONST(-1) | TRUE | °C | P | 16413 | HFFFF | RW |  | CONST(VMU00000)
67 | _1007_SCC | Cabinet Cooling setpoint during cycle 2 and chilling phase cycle 6 | CUS40000 | Cabinet Cooling setpoint during cycle 2 and chilling phase cycle 6 |  | -3200 | 3200 | CONST(-1) | TRUE | °C | P | 16414 | HFFFF | RW |  | CONST(VMU00000)
68 | _1008_SSA | Food Probe end setpoint cycle 1 and chilling phase cycle 5 | CUS40000 | Food Probe end setpoint cycle 1 and chilling phase cycle 5 |  | -3200 | 3200 | CONST(-1) | TRUE | °C | P | 16418 | HFFFF | RW |  | CONST(VMU00000)
69 | _1008_SSC | Food Probe end setpoint cycle 2 and chilling phase cycle 6 | CUS40000 | Food Probe end setpoint cycle 2 and chilling phase cycle 6 |  | -3200 | 3200 | CONST(-1) | TRUE | °C | P | 16420 | HFFFF | RW |  | CONST(VMU00000)
70 | _1015_i1A | Max Interval Time cycle1 and chilling phase of cycle 5 (min) | CUS40000 | Max Interval Time cycle1 and chilling phase of cycle 5 (min) |  | 1 | 1200 |  |  | minutes | P | 16421 | HFFFF | RW |  | CONST(VMU00018)
71 | _1016_i1C | Max Interval Time cycle 2 and chilling phase of cycle 6 (min) | CUS40000 | Max Interval Time cycle 2 and chilling phase of cycle 6 (min) |  | 1 | 1200 |  |  | minutes | P | 16422 | HFFFF | RW |  | CONST(VMU00018)
72 | _1047_dod | Fan when door open | CUS40000 | Fan when door open |  | 0 | 1 |  |  | none | P | 16424 | H0001 | RW |  | CONST(VMU00020)
73 | _1017_CA1 | Calibration value for Cell Probe | CUS40000 | Calibration value for Cell Probe |  | -100 | 100 | CONST(-1) | TRUE | °C | P | 16432 | HFFFF | RW |  | CONST(VMU00000)
74 | _1017_CA2 | Calibration value for Evaporator Probe | CUS40000 | Calibration value for Evaporator Probe |  | -100 | 100 | CONST(-1) | TRUE | °C | P | 16433 | HFFFF | RW |  | CONST(VMU00000)
75 | _1018_SFC | setpoint end phase 1 Quick Chill (Insert Probe) | CUS40000 | setpoint end phase 1 Quick Chill (Insert Probe) |  | -3200 | 3200 | CONST(-1) | TRUE | °C | P | 16436 | HFFFF | RW |  | CONST(VMU00000)
76 | _1019_S1C | setpoint end phase 1 Quick Chill (box Probe) | CUS40000 | setpoint end phase 1 Quick Chill (box Probe) |  | -3200 | 3200 | CONST(-1) | TRUE | °C | P | 16438 | HFFFF | RW |  | CONST(VMU00000)
77 | _1020_dSr | delay time for difference between insert and Cabinet probe | CUS40000 | delay time for difference between insert and Cabinet probe |  | 1 | 60 |  |  | minutes | P | 16402 | HFFFF | RW |  | CONST(VMU00018)
78 | _1021_dPS | minimum Temperture between insert and cabinet probe | CUS40000 | minimum Temperture between insert and cabinet probe |  | 0 | 500 | CONST(-1) | TRUE | °C | P | 16404 | HFFFF | RW |  | CONST(VMU00000)
79 | _1005_Cyc | Selection Cycle | CUS40000 | Selection Cycle |  | 1 | 6 |  |  | none | P | 16439 | HFFFF | RW |  | CONST(VMU00020)
80 | _1015_iSC | Timeout phase2 of cycle 2 and 6 | CUS40000 | Timeout phase2 of cycle 2 and 6 |  | 1 | 1200 |  |  | minutes | P | 16457 | HFFFF | RW |  | CONST(VMU00018)
81 | _1001_SEt3 | Cooling setpoint during preservation in cycle 5 | CUS40000 | Cooling setpoint during preservation in cycle 5 |  | -3200 | 3200 | CONST(-1) | TRUE | °C | P | 16458 | HFFFF | RW |  | CONST(VMU00000)
82 | _1001_SEt4 | Cooling setpoint during preservation in cycle 6 | CUS40000 | Cooling setpoint during preservation in cycle 6 |  | -3200 | 3200 | CONST(-1) | TRUE | °C | P | 16459 | HFFFF | RW |  | CONST(VMU00000)
83 | _1049_FQC | Fan in Quick Chill | CUS40000 | Fan in Quick Chill |  | 0 | 2 |  |  | none | P | 16412 | H0001 | RW |  | CONST(VMU00020)
84 | _1190_Stt | Sterilization time | CUS40000 | Sterilization time |  | 1 | 600 |  |  | seconds | P | 16405 | HFFFF | RW |  | CONST(VMU00017)
85 | _1191_S_T | Minimun Sterilizaton box Temperture | CUS40000 | Minimun Sterilizaton box Temperture |  | 0 | 200 | CONST(-1) | TRUE | °C | P | 16406 | HFFFF | RW |  | CONST(VMU00000)
86 | _1192_Ipt | Insert probe Heating Time | CUS40000 | Insert probe Heating Time |  | 0 | 30 |  |  | minutes | P | 16407 | HFFFF | RW |  | CONST(VMU00018)
87 | _1193_I_T | Insert Probe Max Temperture during heating phase | CUS40000 | Insert Probe Max Temperture during heating phase |  | 0 | 100 | CONST(-1) | TRUE | °C | P | 16410 | HFFFF | RW |  | CONST(VMU00000)
88 | _1049_FHC | Fan in Hold mode | CUS40000 | Fan in Hold mode |  | 0 | 2 |  |  | none | P | 16417 | HFFFF | RW |  | CONST(VMU00020)
89 | RTCHours | RTCHours | CUS40000 | RTCHours |  | 0 | 23 |  |  | Hours | P | 9031 | H00FF | RW |  | CONST(VMU00019)
90 | RTCMinutes | RTCMinutes | CUS40000 | RTCMinutes |  | 0 | 59 |  |  | minutes | P | 9030 | H00FF | RW |  | CONST(VMU00018)
91 | RTCDay | RTCDay | CUS40000 | RTCDay |  | 0 | 31 |  |  | day | P | 9033 | H00FF | RW |  | CONST(VMU00027)
92 | RTCMonth | RTCMonth | CUS40000 | RTCMonth |  | 0 | 12 |  |  | month | P | 9034 | H00FF | RW |  | CONST(VMU00028)
93 | RTCYear | RTCYear | CUS40000 | RTCYear |  | 10 | 99 |  |  | year | P | 9035 | H00FF | RW |  | CONST(VMU00029)
94 | RTCConfirmUpgrade | RTCConfirmUpgrade | CUS40000 | RTCConfirmUpgrade |  | 0 | 2 |  |  | none | P | 9036 | H00FF | RW |  | CONST(VMU00020)
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
Note on A1: Do Not Edit
Note on B1: Parameter Unique LABEL Try to keep the lenght to no more than 3 chars.
Note on C1: Description used to describe the parameter. Not used in the driver
Note on D1: Description code: use Dizionario2.xls string codes or CUS40000 to enter a custom string
Note on E1: Possible values 1) numerical =>resource progressive number 2) Custom String if DESCRIPTION CODE = CUS40000 3) blank
Note on F1: HELP: Group or groups the given parameter belongs to. Use ";" to separate the group code.
Note on G1: HELP: lower limit: 1) numerical value: ex. 200; 2) parameter value: ex. Param(LSE)
Note on H1: HELP: lower limit: 1) numerical value: ex. 200; 2) parameter value: ex. Param(LSE)
Note on I1: 1) blank 2) FIX(+/- num): VALUE*10^(+/- num)
Note on J1: 1) BLANK or FALSE : Fixed point Unsigned 2) TRUE: Fixed Point Signed 3)SIGN+MANTISSA= MSb as sign the rest id the mantissa
Note on K1: user: Select The Measurement Unit
Note on L1: 1) S: 0x03 read, 0x06 write Modbus Command 2) P: 0x03 read , 0x10 write Modbus Command 3) W:0x04 read , 0x16 write Modbus Command 4) R: 0x01 read , 0x05 write Modbus Command 5) O: 0x01 read , 0x0F write Modbus Command 6) N: 0x02 read Modbus Command -->HFF required as FILTER 7) A: 0x04 read Modbus Command
Note on M1: Modbus address. The value format are: a) 122; b) H2002 (Hex value)
Note on N1: Modbus filter: Modbus filter act as bit mask, but also drive the number of Bytes to read 1) HFFFF bit mask 2) S[n] --> HFF filter repeated n times A) REV: used for identifier a little-endian format REV(HFFFF) B) otherwise: big-endian
Note on O1: Resource can be one of: 1) R: only read value; 2) W: only write value; 3) RW: Read and Write value
Note on Q1: Measurement unit string: 1) CONST(VMU00018) => Measurement unit is fixed. Given by code VMU00018 2) INT({0=VMU00018,1=VMU00020},PARAM(dro)) => Measurement unit is parametrized by parametre with label dro
Note on R1: HELP: Possible values: 1) L: Logical Micronet command 2) F: Physical Micronet command 3) E: Extension micronet command 4) D: Record description Micronet command 5) M: DRV_OS Micronet command
Note on S1: HELP: Same order of Micronet command 1) Logical Area number (ex. 1); 2) Physical address (ex. H1001); 3) Extension address 4) DRV_OS address 5) MSB: Area; LSB: MultiArea The value format are: a) 122; b) H2002 (Hex value)
Note on T1: HELP: Same order of Micronet command: 1) Logic index (ex. 1); 2) Fisic Bytes size (ex. H1001); 3) extension address 4) DRV_OS address 5)Index The value format are: a) 122; b) H2002 (Hex value)

## Client
INDEX | LABEL | DESCRIPTION | DESCRIPTION_CODE | PROGRESSIVE | GROUPS | FORMAT | COMPLEMENTED | MEASUREMENT_UNIT_DESC | MODBUS_COMMAND | MODBUS_ADDRESS | FILTER | EXISTENCE | TYPE | VALUE_CONDITION | TEST_CONDITION | WRITE_SEQUENCE | MEASUREMENT_UNIT | MICRONET_COMMAND | MICRONET_ADDRESS | MICRONET_SIZE_SUBADDRESS
1 | ident | [6 empty] | none | P | 9099 | HFFFF | CONST(0) | Support |  |  |  | CONST(VMU00020)
2 | CS | CurrentState | CUS40000 | CurrentState |  |  |  | none | P | 8959 | H00FF | CONST(1) | Status |  |  |  | CONST(VMU00020)
3 | CM | CurrentMode | CUS40000 | CurrentMode |  |  |  | none | P | 8960 | H00FF | CONST(1) | Status |  |  |  | CONST(VMU00020)
4 | CTS | CurrentTemperatureSetpoint | CUS40000 | CurrentTemperatureSetpoint |  | CONST(-1) | TRUE | °C | P | 8961 | HFFFF | CONST(1) | AI |  |  |  | CONST(VMU00000)
5 | TT | ThermoregulationType | CUS40000 | ThermoregulationType |  |  |  | none | P | 8965 | H00FF | CONST(1) | Status |  |  |  | CONST(VMU00020)
6 | PL | PasswordLevel | CUS40000 | PasswordLevel |  |  |  | none | P | 8973 | H00FF | CONST(0) | Status |  |  |  | CONST(VMU00020)
7 | RP | ResetPassword | CUS40000 | ResetPassword |  |  |  | none | P | 8974 | H0001 | CONST(0) | Status |  |  |  | CONST(VMU00020)
8 | RA | ResetAlarm | CUS40000 | ResetAlarm |  |  |  | none | P | 8975 | H0001 | CONST(1) | Net Command |  |  | Reset_Alarms | CONST(VMU00020)
9 | Pb1En | Pb1Enabled | CUS40000 | Pb1Enabled |  |  |  | none | P | 8976 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
10 | Pb1 | Pb1 | CUS40000 | Pb1 |  | CONST(-1) | TRUE | °C | P | 8977 | HFFFF | CONST(1) | AI |  |  |  | CONST(VMU00000)
11 | Pb1Er | Pb1Error | CUS40000 | Pb1Error |  |  |  | none | P | 8978 | H00FF | CONST(1) | Alarm |  |  |  | CONST(VMU00020)
12 | Pb2En | Pb2Enabled | CUS40000 | Pb2Enabled |  |  |  | none | P | 8979 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
13 | Pb2 | Pb2 | CUS40000 | Pb2 |  | CONST(-1) | TRUE | °C | P | 8980 | HFFFF | CONST(1) | AI |  |  |  | CONST(VMU00000)
14 | Pb2Er | Pb2Error | CUS40000 | Pb2Error |  |  |  | none | P | 8981 | H00FF | CONST(1) | Alarm |  |  |  | CONST(VMU00020)
15 | Pb3En | Pb3Enabled | CUS40000 | Pb3Enabled |  |  |  | none | P | 8982 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
16 | Pb3 | Pb3 | CUS40000 | Pb3 |  | CONST(-1) | TRUE | °C | P | 8983 | HFFFF | CONST(1) | AI |  |  |  | CONST(VMU00000)
17 | Pb3Er | Pb3Error | CUS40000 | Pb3Error |  |  |  | none | P | 8984 | H00FF | CONST(1) | Alarm |  |  |  | CONST(VMU00020)
18 | ExA | ExternalAlarm | CUS40000 | ExternalAlarm |  |  |  | none | P | 8988 | H00FF | CONST(1) | Alarm |  |  |  | CONST(VMU00020)
19 | ThCA | ThermalCompAlarm | CUS40000 | ThermalCompAlarm |  |  |  | none | P | 8989 | H00FF | CONST(1) | Alarm |  |  |  | CONST(VMU00020)
20 | DOA | DoorOpenAlarm | CUS40000 | DoorOpenAlarm |  |  |  | none | P | 8990 | H00FF | CONST(1) | Alarm |  |  |  | CONST(VMU00020)
21 | ThFA | ThermalFanAlarm | CUS40000 | ThermalFanAlarm |  |  |  | none | P | 8991 | H00FF | CONST(1) | Alarm |  |  |  | CONST(VMU00020)
22 | HTA | HighTemperatureAlarm | CUS40000 | HighTemperatureAlarm |  |  |  | none | P | 8992 | H00FF | CONST(1) | Alarm |  |  |  | CONST(VMU00020)
23 | LTA | LowTemperatureAlarm | CUS40000 | LowTemperatureAlarm |  |  |  | none | P | 8993 | H00FF | CONST(1) | Alarm |  |  |  | CONST(VMU00020)
24 | DTA | DefrostTimeoutAlarm | CUS40000 | DefrostTimeoutAlarm |  |  |  | none | P | 8994 | H00FF | CONST(1) | Alarm |  |  |  | CONST(VMU00020)
25 | ClkEr | ClockError | CUS40000 | ClockError |  |  |  | none | P | 8997 | H00FF | CONST(1) | Alarm |  |  |  | CONST(VMU00020)
26 | GA | GlobalAlarmStatus | CUS40000 | GlobalAlarmStatus |  |  |  | none | P | 8998 | H00FF | CONST(1) | Alarm |  |  |  | CONST(VMU00020)
27 | DSEn | DoorSwitchEnabled | CUS40000 | DoorSwitchEnabled |  |  |  | none | P | 9001 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
28 | DS | DoorSwitch | CUS40000 | DoorSwitch |  |  |  | none | P | 9002 | H0001 | CONST(1) | DI |  |  |  | CONST(VMU00020)
29 | ADIEn | AlarmDIEnabled | CUS40000 | AlarmDIEnabled |  |  |  | none | P | 9003 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
30 | ADI | AlarmDI | CUS40000 | AlarmDI |  |  |  | none | P | 9004 | H0001 | CONST(1) | DI |  |  |  | CONST(VMU00020)
31 | SDI | StateDIEnabled | CUS40000 | StateDIEnabled |  |  |  | none | P | 9005 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
32 | RS | RemoteState | CUS40000 | RemoteState |  |  |  | none | P | 9006 | H00FF | CONST(1) | DI |  |  |  | CONST(VMU00020)
33 | QCDIEn | QuickChillDIEnabled | CUS40000 | QuickChillDIEnabled |  |  |  | none | P | 9007 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
34 | QCDI | QuickChillDI | CUS40000 | QuickChillDI |  |  |  | none | P | 9008 | H0001 | CONST(1) | DI |  |  |  | CONST(VMU00020)
35 | ThCDIEn | ThermalCompDIEnabled | CUS40000 | ThermalCompDIEnabled |  |  |  | none | P | 9009 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
36 | ThCDI | ThermalCompDI | CUS40000 | ThermalCompDI |  |  |  | none | P | 9010 | H0001 | CONST(1) | DI |  |  |  | CONST(VMU00020)
37 | ThFEn | ThermalFanEnabled | CUS40000 | ThermalFanEnabled |  |  |  | none | P | 9011 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
38 | ThFS | ThermalFanSwitch | CUS40000 | ThermalFanSwitch |  |  |  | none | P | 9012 | H0001 | CONST(1) | DI |  |  |  | CONST(VMU00020)
39 | PkPbEn | ParckingProbeEnabled | CUS40000 | ParckingProbeEnabled |  |  |  | none | P | 9013 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
40 | PkPbDI | ParckingProbeDI | CUS40000 | ParckingProbeDI |  |  |  | none | P | 9014 | H0001 | CONST(1) | DI |  |  |  | CONST(VMU00020)
41 | Cdo | CompressorDO | CUS40000 | CompressorDO |  |  |  | none | P | 9017 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
42 | DdoEn | DefrostDOEnabled | CUS40000 | DefrostDOEnabled |  |  |  | none | P | 9020 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
43 | Ddo | DefrostDO | CUS40000 | DefrostDO |  |  |  | none | P | 9021 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
44 | EvFDO | EvaporatorFansDO | CUS40000 | EvaporatorFansDO |  |  |  | none | P | 9023 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
45 | LdoEn | LightDOEnabled | CUS40000 | LightDOEnabled |  |  |  | none | P | 9025 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
46 | Ldo | LightDO | CUS40000 | LightDO |  |  |  | none | P | 9026 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
47 | EvFDoEn | EvaporatorFanDOEnabled | CUS40000 | EvaporatorFanDOEnabled |  |  |  | none | P | 9027 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
48 | Creq | CompressorRequest | CUS40000 | CompressorRequest |  |  |  | none | P | 9038 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
49 | CoolC | CoolingConfigured | CUS40000 | CoolingConfigured |  |  |  | none | P | 9042 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
50 | CoolEn | CoolingEnabled | CUS40000 | CoolingEnabled |  |  |  | none | P | 9043 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
51 | CompC | CompressorConsensus | CUS40000 | CompressorConsensus |  |  |  | none | P | 9054 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
52 | Dreq | DefrostRequest | CUS40000 | DefrostRequest |  |  |  | none | P | 9057 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
53 | Den | DefrostEnabled | CUS40000 | DefrostEnabled |  |  |  | none | P | 9058 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
54 | Dact | DefrostActive | CUS40000 | DefrostActive |  |  |  | none | P | 9059 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
55 | DreqD | DefrostRequestDiscardedWarning | CUS40000 | DefrostRequestDiscardedWarning |  |  |  | none | P | 9079 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
56 | ToggleL | ToggleLightRequest | CUS40000 | ToggleLightRequest |  |  |  | none | P | 9064 | H0001 | CONST(1) | Net Command |  |  | Toggle_Light | CONST(VMU00020)
57 | DHMIReq | DefrostHMIRequest | CUS40000 | DefrostHMIRequest |  |  |  | none | P | 9065 | H0001 | CONST(1) | Net Command |  |  | Defrost_Command | CONST(VMU00020)
58 | ResCount | ResetCountersHMIRequest | CUS40000 | ResetCountersHMIRequest |  |  |  | none | P | 9066 | H0001 | CONST(1) | Net Command |  |  | Reset_Couters | CONST(VMU00020)
59 | CompUH | CompressorUptimeHours | CUS40000 | CompressorUptimeHours |  |  |  | Hours | P | 9067 | HFFFF | CONST(1) | Status |  |  |  | CONST(VMU00019)
60 | UnitUH | UnitUptimeHours | CUS40000 | UnitUptimeHours |  |  |  | Hours | P | 9069 | HFFFF | CONST(1) | Status |  |  |  | CONST(VMU00019)
61 | Ver1 | Version1 | CUS40000 | Version1 |  |  |  | none | P | 9100 | H00FF | CONST(1) | Status |  |  |  | CONST(VMU00020)
62 | Ver2 | Version2 | CUS40000 | Version2 |  |  |  | none | P | 9101 | H00FF | CONST(1) | Status |  |  |  | CONST(VMU00020)
63 | BuzEn | BuzzerDOEnabled | CUS40000 | BuzzerDOEnabled |  |  |  | none | P | 9089 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
64 | BuzDo | BuzzerDO | CUS40000 | BuzzerDO |  |  |  | none | P | 9090 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
65 | ElDEn | ElectricDefrost_Enabled | CUS40000 | ElectricDefrost_Enabled |  |  |  | none | P | 8966 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
66 | Pres_mode | Preservation_mode | CUS40000 | Preservation_mode |  |  |  | none | P | 9015 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
67 | QC_Ph | QuickChillPhase | CUS40000 | QuickChillPhase |  |  |  | none | P | 8995 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
68 | cycStep | cycle_step | CUS40000 | cycle_step |  |  |  | none | P | 9039 | HFFFF | CONST(1) | Status |  |  |  | CONST(VMU00020)
69 | Sw2TQC | Switch2Timed_QuickChill | CUS40000 | Switch2Timed_QuickChill |  |  |  | none | P | 9052 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
70 | QCS | QuickChillState | CUS40000 | QuickChillState |  |  |  | none | P | 9060 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
71 | QCT | QuickChillTimed | CUS40000 | QuickChillTimed |  |  |  | none | P | 9061 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
72 | SQC | StartQuickChill | CUS40000 | StartQuickChill |  |  |  | none | P | 9075 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
73 | Running | Running | CUS40000 | Running |  |  |  | none | P | 9076 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
74 | HMIQC | hmiQuickChill | CUS40000 | hmiQuickChill |  |  |  | none | P | 9019 | H0001 | CONST(1) | Net Command |  |  | Start_QuickChill | CONST(VMU00020)
75 | SetIPb | SetInsertProbe | CUS40000 | SetInsertProbe |  | CONST(-1) | TRUE | °C | P | 9088 | HFFFF | CONST(1) | AI |  |  |  | CONST(VMU00000)
76 | ActvCyc | ActiveCycle | CUS40000 | ActiveCycle |  |  |  | none | P | 9091 | HFFFF | CONST(1) | Status |  |  |  | CONST(VMU00020)
77 | TimeStep | TimeStep | CUS40000 | TimeStep |  |  |  | none | P | 9092 | HFFFF | CONST(1) | Status |  |  |  | CONST(VMU00020)
78 | CurrTS | CurrentTimeStep | CUS40000 | CurrentTimeStep |  |  |  | none | P | 9093 | HFFFF | CONST(1) | Status |  |  |  | CONST(VMU00020)
79 | Set1 | Final Cabinet Setpoint in Quick Chill | CUS40000 | Final Cabinet Setpoint in Quick Chill |  | CONST(-1) | TRUE | °C | P | 9095 | HFFFF | CONST(1) | AI |  |  |  | CONST(VMU00000)
80 | Set2 | Intermediate Cabinet Setpoint in cycle 2,6 | CUS40000 | Intermediate Cabinet Setpoint in cycle 2,6 |  | CONST(-1) | TRUE | °C | P | 9096 | HFFFF | CONST(1) | AI |  |  |  | CONST(VMU00000)
81 | Set3 | Preservation Cabinet Setpoint | CUS40000 | Preservation Cabinet Setpoint |  | CONST(-1) | TRUE | °C | P | 9097 | HFFFF | CONST(1) | AI |  |  |  | CONST(VMU00000)
82 | Dex | defrostExclusion | CUS40000 | defrostExclusion |  |  |  | none | P | 8967 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
83 | silence | silence | CUS40000 | silence |  |  |  | none | P | 8968 | H0001 | CONST(1) | Net Command |  |  |  | CONST(VMU00020)
84 | EndQC | End_QuickChill | CUS40000 | End_QuickChill |  |  |  | none | P | 8969 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
85 | DTElaps | DefrostTimeElapsed | CUS40000 | DefrostTimeElapsed |  |  |  | minutes | P | 9102 | HFFFF | CONST(1) | Status |  |  |  | CONST(VMU00018)
86 | SterReq | SterilRequest | CUS40000 | SterilRequest |  |  |  | none | P | 9103 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
87 | SterEn | SterilEnabled | CUS40000 | SterilEnabled |  |  |  | none | P | 9104 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
88 | SterActv | SterilActive | CUS40000 | SterilActive |  |  |  | none | P | 9105 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
89 | SterReqD | SterilRequestDiscardedWarning | CUS40000 | SterilRequestDiscardedWarning |  |  |  | none | P | 9106 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
90 | SterHMIReq | SterilHMIRequest | CUS40000 | SterilHMIRequest |  |  |  | none | P | 9107 | H0001 | CONST(1) | Net Command |  |  | Start_Steril | CONST(VMU00020)
91 | SterTElap | SterilTimeElapsed | CUS40000 | SterilTimeElapsed |  |  |  | minutes | P | 9108 | HFFFF | CONST(1) | Status |  |  |  | CONST(VMU00018)
92 | SterTimeOut | SterilTimeoutAlarm | CUS40000 | SterilTimeoutAlarm |  |  |  | none | P | 9112 | H00FF | CONST(1) | Status |  |  |  | CONST(VMU00020)
93 | SterDoEn | SterilDOEnabled | CUS40000 | SterilDOEnabled |  |  |  | none | P | 9113 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
94 | SterDo | SterilDO | CUS40000 | SterilDO |  |  |  | none | P | 9114 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
95 | HpbReq | HeatingProbeRequest | CUS40000 | HeatingProbeRequest |  |  |  | none | P | 9115 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
96 | HpbEn | HeatingProbeEnabled | CUS40000 | HeatingProbeEnabled |  |  |  | none | P | 9116 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
97 | HpbActv | HeatingProbeActive | CUS40000 | HeatingProbeActive |  |  |  | none | P | 9117 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
98 | HpbReqD | HeatingProbeRequestDiscardedWarning | CUS40000 | HeatingProbeRequestDiscardedWarning |  |  |  | none | P | 9118 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
99 | HpbHMIReq | HeatingProbeHMIRequest | CUS40000 | HeatingProbeHMIRequest |  |  |  | none | P | 9133 | H0001 | CONST(1) | Net Command |  |  | Start_HeatingProbe | CONST(VMU00020)
100 | HpbTElaps | HeatingProbeTimeElapsed | CUS40000 | HeatingProbeTimeElapsed |  |  |  | minutes | P | 9134 | HFFFF | CONST(1) | Status |  |  |  | CONST(VMU00018)
101 | HpPBTimeAl | HeatingProbeTimeoutAlarm | CUS40000 | HeatingProbeTimeoutAlarm |  |  |  | none | P | 9136 | H00FF | CONST(1) | Status |  |  |  | CONST(VMU00020)
102 | HpbDOEn | HeatingProbeDOEnabled | CUS40000 | HeatingProbeDOEnabled |  |  |  | none | P | 9137 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
103 | HpbDo | HeatingProbeDO | CUS40000 | HeatingProbeDO |  |  |  | none | P | 9138 | H0001 | CONST(1) | Status |  |  |  | CONST(VMU00020)
104 | DrainTElaps | DrainageTimeElpsed | CUS40000 | DrainageTimeElpsed |  |  |  | minutes | P | 9139 | HFFFF | CONST(1) | Status |  |  |  | CONST(VMU00018)
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
Note on A1: Use Progressive Unique number starting from 1
Note on B1: Resource Unique LABEL Try to keep the lenght to no more than 3 chars.
Note on C1: Description used to describe the Resource Not used in the driver
Note on D1: Description code: use Dizionario2.xls string codes or CUS40000 to enter a custom string
Note on E1: Possible values 1) numerical =>resource progressive number 2) Custom String if DESCRIPTION CODE = CUS40000 3) blank
Note on F1: HELP: Group join. The Key_Group describe the group string index. Each item has one or more groups
Note on G1: 1) blank 2) FIX(+/- num): VALUE*10^(+/- num)
Note on H1: 1) BLANK or FALSE : Fixed point Unsigned 2) TRUE: Fixed Point Signed 3) SIGN+MANTISSA= MSb as sign the rest id the mantissa
Note on J1: 1) S: 0x03 read, 0x06 write Modbus Command 2) P: 0x03 read , 0x10 write Modbus Command 3) W:0x04 read , 0x16 write Modbus Command 4) R: 0x01 read , 0x05 write Modbus Command 5) O: 0x01 read , 0x0F write Modbus Command 6) N: 0x02 read Modbus Command--> HFF required as FILTER 7) A: 0x04 read Modbus Command
Note on K1: Modbus address. The value format are: a) 122; b) H2002 (Hex value)
Note on L1: Modbus filter: Modbus filter act as bit mask, but also drive the number of Bytes to read 1) HFFFF bit mask 2) S[n] --> HFF filter repeated n times A) REV: used for identifier a little-endian format REV(HFFFF) B) otherwise: big-endian
Note on M1: If the result is 1 THEN the resource is present ELSE the resource is not present Examples: CONST(0) --> resource hidden CONST(1) --> always present Params(XXX) > CONST(1) --> presente only if parameter XXX has value greater than 1
Note on N1: HELP: Resource type: 1) AI: analogic input; 2) DI: digital input; 3) Alarm: Alarm; 4) State: state; 5) Net Command: Televis command; 6) Support: support resource
Note on O1: If defined, the output for the resource will be the output of the statement (instead of the raw value). INT(0,{0=1,1=20},THIS()) means - evaluate the value read for the current resourse -[THIS()] - IF raw value=0 THEN return 1 - [0=1] - IF raw value=1 THEN return 20 - [1=20] as defualt return 0 Refer to P0435 rules document for formulas description.
Note on P1: Test Condition Used to link analogue probes to probe error alarms. Example: Client(ProbeErr1) --> where probeErr is an Alarm defined in the client Tab. When the Proberr is on error the value of the current resource will be flagged. This information is used in the Televis to dispaly data with "**" indicating the value read is invalid
Note on Q1: Reference to an item inside Write sheet . Used to detail NetCommand sequences.
Note on S1: Measurement unit string: 1) CONST(VMU00018) => Measurement unit is fixed. Given by code VMU00018 2) INT({0=VMU00018,1=VMU00020},PARAM(dro)) => Measurement unit is parametrized by parametre with label dro
Note on T1: HELP: Possible values: 1) L: Logical Micronet command 2) F: Physical Micronet command 3) E: Extension micronet command 4) D: Record description Micronet command 5) M: DRV_OS Micronet command
Note on U1: HELP: Same order of Micronet command 1) Logical Area number (ex. 1); 2) Physical address (ex. H1001); 3) Extension address 4) DRV_OS address 5) MSB: Area; LSB: MultiArea The value format are: a) 122; b) H2002 (Hex value)
Note on V1: HELP: Same order of Micronet command: 1) Logic index (ex. 1); 2) Fisic Bytes size (ex. H1001); 3) extension address 4) DRV_OS address 5)Index The value format are: a) 122; b) H2002 (Hex value)

## Write
INDEX | NAME | VALUE | COMPLEMENTED | MICRONET_COMMAND | MICRONET_ADDRESS | MICRONET_SIZE_SUBADDRESS | MODBUS_COMMAND | MODBUS_ADDRESS | FILTER
1 | Reset_Alarms | 1 |  |  |  |  | P | 8975 | H00FF
2 | Toggle_Light | 1 |  |  |  |  | P | 9064 | H00FF
3 | Defrost_Command | 1 |  |  |  |  | P | 9065 | H00FF
4 | Reset_Couters | 1 |  |  |  |  | P | 9066 | H00FF
5 | Start_QuickChill | 1 |  |  |  |  | P | 9019 | H00FF
6 | Start_Steril | 1 |  |  |  |  | P | 9107 | H00FF
7 | Start_HeatingProbe | 1 |  |  |  |  | P | 9133 | H00FF
Note on A1: Use Progressive Unique number starting from 1
Note on B1: Unique Item name, used into Client/RTC sheet
Note on C1: Value to write
Note on D1: 1) BLANK or FALSE : Fixed point Unsigned 2) TRUE: Fixed Point Signed 3) SIGN+MANTISSA= MSb as sign the rest id the mantissa
Note on E1: HELP: Possible values: 1) L: Logical Micronet command 2) F: Physical Micronet command 3) E: Extension micronet command 4) D: Record description Micronet command 5) M: DRV_OS Micronet command
Note on F1: HELP: Same order of Micronet command 1) Logical Area number (ex. 1); 2) Physical address (ex. H1001); 3) Extension address 4) DRV_OS address 5) MSB: Area; LSB: MultiArea The value format are: a) 122; b) H2002 (Hex value)
Note on G1: HELP: Same order of Micronet command: 1) Logic index (ex. 1); 2) Fisic Bytes size (ex. H1001); 3) extension address 4) DRV_OS address 5)Index The value format are: a) 122; b) H2002 (Hex value)
Note on H1: 1) S: 0x03 read, 0x06 write Modbus Command 2) P: 0x03 read , 0x10 write Modbus Command 3) W: 0x04 read , 0x16 write Modbus Command 4) R: 0x01 read , 0x05 write Modbus Command 5) O: 0x01 read , 0x0F write Modbus Command 6) N: 0x02 read Modbus Command-->HFF required as FILTER 7) A: 0x04 read Modbus Command
Note on I1: Modbus address. The value format are: a) 122; b) H2002 (Hex value)
Note on J1: Modbus filter: Modbus filter act as bit mask, but also drive the number of Bytes to read 1) HFFFF bit mask 2) S[n] --> HFF filter repeated n times A) REV: used for identifier a little-endian format REV(HFFFF) B) otherwise: big-endian

## WriteArgs
INDEX | NAME | TYPE | FORMAT | COMPLEMENTED | SIZE | LOW_LIMIT | HIGH_LIMIT | DESCRIPTION_INDEX | PROGRESSIVE
DO NOT USE THIS TAB : FOR FUTURE USES
Note on A1: Use Progressive Unique number starting from 1
Note on B1: HELP: Argument name, used iito Write sheet
Note on C1: Argument type: 1) NUMERIC; 2) BOOLEAN.
Note on D1: 1) blank 2) FIX(+/- num): VALUE*10^(+/- num)
Note on E1: 1) BLANK or FALSE : Fixed point Unsigned 2) TRUE: Fixed Point Signed 3) SIGN+MANTISSA= MSb as sign the rest id the mantissa
Note on F1: HELP: Argument data size in bytes
Note on G1: lower limit: 1) numerical value: ex. 200;
Note on H1: Higherr limit: 1) numerical value: ex. 200;
Note on I1: description string index (ex: PCR00050)
Note on J1: HELP: 1) any : Only String 2) numerical: string {numerical} 3) string index: string {string}

## RTC
INDEX | NAME | MICRONET_COMMAND | MICRONET_ADDRESS | MICRONET_SIZE_SUBADDRESS | MODBUS_COMMAND | MODBUS_ADDRESS | FILTER | WRITE_SEQUENCE
DO NOT USE THIS TAB: FUTURE USES
Note on B1: RTC Resource identifier: 1) InitSequence: sequence for to inizialize the write operation; 2) Seconds: seconds resource; 3) Minutes: minutes resource; 4) Hours: hours resource; 5) Day: day resource; 6) DayOfWeek: day of week resource 7) Month: month resource; 8) Year: Year resource; 9) EndSequence: sequence for conclude thewrite operation.
Note on C1: HELP: Possible values: 1) L: Logical Micronet command 2) F: Physical Micronet command 3) E: Extension micronet command 4) D: Record description Micronet command 5) M: DRV_OS Micronet command
Note on D1: HELP: Same order of Micronet command 1) Logical Area number (ex. 1); 2) Physical address (ex. H1001); 3) Extension address 4) DRV_OS address 5) MSB: Area; LSB: MultiArea The value format are: a) 122; b) H2002 (Hex value)
Note on E1: HELP: Same order of Micronet command: 1) Logic index (ex. 1); 2) Fisic Bytes size (ex. H1001); 3) extension address 4) DRV_OS address 5)Index The value format are: a) 122; b) H2002 (Hex value)
Note on F1: HELP: 1) S: 0x03, 0x06 and 0x10 Modbus Command 2) E: 0x04 and 0x16 Modbus Command
Note on G1: HELP: Modbus address. The value format are: a) 122; b) H2002 (Hex value)
Note on H1: HELP: Micronet and Modbus filter: 1) REV: used for identifier a little-endian format 2) otherwise: big-endian
Note on I1: HELP: Write operation. Name of Write Excel sheet item

## DB
PARAM_CODE | FIX | COMPLEMENTED | MODBUS_COMMAND | FILTER | R_W_RW | EXISTENCE | RES_TYPE | MU_DESC | MU_CODE | PARITY | BAUD_RATE
CUS40000 |  |  | S | HFFFF | RW | CONST(1) | AI | none | CONST(VMU00020) | N | 9600
Type Eliwell code … | CONST(+1) | FALSE | P | REV(HFFFF) | R | CONST(0) | DI | °C | CONST(VMU00000) | E | 19200
| CONST(+2) | TRUE | W | H00FF | W |  | Alarm | °F | CONST(VMU00001) | O
| CONST(+3) | SIGN+MANTISSA | R | HFF00 |  |  | Status | bar | CONST(VMU00002)
| CONST(-1) |  | O | S[4] |  |  | Net Command | %RH | CONST(VMU00003)
| CONST(-2) |  | N | SPECIALREV(S[4]) |  |  | Support | °R | CONST(VMU00004)
| CONST(-3) |  | A |  |  |  |  | Pa | CONST(VMU00005)
|  |  | C |  |  |  |  | Bin | CONST(VMU00006)
[8 empty] | Psi | CONST(VMU00007)
[8 empty] | Volt | CONST(VMU00008)
[8 empty] | Amp | CONST(VMU00009)
[8 empty] | Hz | CONST(VMU00010)
[8 empty] | h | CONST(VMU00011)
[8 empty] | KwA | CONST(VMU00012)
[8 empty] | KwR | CONST(VMU00013)
[8 empty] | Cos | CONST(VMU00014)
[8 empty] | KwhA | CONST(VMU00015)
[8 empty] | KwhR | CONST(VMU00016)
[8 empty] | seconds | CONST(VMU00017)
[8 empty] | minutes | CONST(VMU00018)
[8 empty] | Hours | CONST(VMU00019)
[8 empty] | J | CONST(VMU00022)
[8 empty] | kW | CONST(VMU00023)
[8 empty] | m³ | CONST(VMU00024)
[8 empty] | m³/s | CONST(VMU00025)
[8 empty] | % | CONST(VMU00026)
[8 empty] | day | CONST(VMU00027)
[8 empty] | month | CONST(VMU00028)
[8 empty] | year | CONST(VMU00029)
[8 empty] | week day | CONST(VMU00030)
[8 empty] | s*10 | CONST(VMU00031)
[8 empty] | stringa | CONST(VMU00032)
[8 empty] | °C/bar | CONST(VMU00033)
[8 empty] | deg | CONST(VMU00034)
[8 empty] | sec/10 | CONST(VMU00035)
[8 empty] | steps | CONST(VMU00036)
[8 empty] | steps/s | CONST(VMU00037)
[8 empty] | mA | CONST(VMU00038)
[8 empty] | mV | CONST(VMU00039)
[8 empty] | ohm | CONST(VMU00040)
[8 empty] | mohm | CONST(VMU00041)
[8 empty] | K | CONST(VMU00042)
[8 empty] | ms*10/step | CONST(VMU00043)
[8 empty] | mV*10 | CONST(VMU00044)
[8 empty] | min*10 | CONST(VMU00045)
[8 empty] | s/100 | CONST(VMU00046)
[8 empty] | W | CONST(VMU00047)
[8 empty] | WA | CONST(VMU00048)
[8 empty] | WR | CONST(VMU00049)
[8 empty] | WhA | CONST(VMU00050)
[8 empty] | WhR | CONST(VMU00051)
[8 empty] | MW | CONST(VMU00052)
[8 empty] | MWA | CONST(VMU00053)
[8 empty] | MWR | CONST(VMU00054)
[8 empty] | MWhA | CONST(VMU00055)
[8 empty] | MWhR | CONST(VMU00056)
[8 empty] | temperature | CONST(VMU00057)
[8 empty] | pressure | CONST(VMU00058)
[8 empty] | hour*10 | CONST(VMU00059)
[8 empty] | ppm | CONST(VMU00060)
[8 empty] | ms*4 | CONST(VMU00061)
[8 empty] | VA | CONST(VMU00065)
[8 empty] | VAR | CONST(VMU00066)
[8 empty] | KVA | CONST(VMU00067)
[8 empty] | KVAR | CONST(VMU00068)
[8 empty] | MVA | CONST(VMU00069)
[8 empty] | MVAR | CONST(VMU00070)
[8 empty] | Wh | CONST(VMU00071)
[8 empty] | VAh | CONST(VMU00072)
[8 empty] | VARh | CONST(VMU00073)
[8 empty] | KWh | CONST(VMU00074)
[8 empty] | KVAh | CONST(VMU00075)
[8 empty] | KVARh | CONST(VMU00076)
[8 empty] | MWh | CONST(VMU00077)
[8 empty] | MVAh | CONST(VMU00078)
[8 empty] | MVARh | CONST(VMU00079)