## Foglio1
FUNCTION CODE | 39 ITALIANO | 44 INGLESE | 33 FRANCESE | 34 SPAGNOLO | 49 TEDESCO
FNC00000 | On/Off strumento | Instrument On/Off | On/Off instrument | On/Off instrumento | On/Off Gerät
FNC00001 | On strumento | Instrument On | On instrument | On instrumento | On Gerät
FNC00002 | Off strumento | Instrument Off | Off instrument | Off instrumento | Off Gerät
FNC00003 | Off strumento per manutenzione | Instrument Off for maintenance | Off instrument pour maintenance | Off instrumento para mantenimiento | Off Gerät für Wartung
FNC00004 | Attiva/disattiva uscita ausiliaria | Auxiliary output On/Off | Active/désactive sortie auxiliaire | Activar/desactivar salida auxiliar | Aktiviert/deaktiviert Hilfsausgang
FNC00005 | Attiva uscita ausiliaria | Auxiliary output On | Active sortie auxiliaire | Activar salida auxiliar | Aktiviert Hilfsausgang
FNC00006 | Disattiva uscita ausiliaria | Auxiliary output Off | Désactive sortie auxiliaire | Desactivar salida auxiliar | Deaktiviert Hilfsausgang
FNC00007 | Accensione/spegnimento luci | Lights On/Off | Allumage/extinction lumières | Encender/apagar luces | Einschalten/Ausschalten Beleuchtung
FNC00008 | Accensione luci | Lights On | Allumage lumières | Encender luces | Einschalten Beleuchtung
FNC00009 | Spegnimento luci | Lights Off | Extinction lumières | Apagar luces | Ausschalten Beleuchtung
FNC00010 | Blocco/sblocco tastiera | Keyboard Locked/Unlocked | Verrouillage/déverrouillage clavier | Bloquear/desbloquear teclado | Sperren/Entsperren Tastatur
FNC00011 | Blocco tastiera | Keyboard Locked | Verrouillage clavier | Bloquear teclado | Sperren Tastatur
FNC00012 | Sblocco tastiera | Keyboard Unlocked | Déverrouillage clavier | Desbloquear teclado | Entsperren Tastatur
FNC00013 | Attiva modo economy | Economy Mode On | Active mode economy | Activar modo Economy | Aktiviert Modus Economy
FNC00014 | Disattiva modo economy | Economy Mode Off | Désactive mode economy | Desactivar modo Economy | Deaktiviert Modus Economy
FNC00015 | Attivazione Defrost Manuale | Manual defrost activation | Activation dégivrage manuel | Activación descarche manual | Manuelles Abtauen Aktivierung
FNC00016 | Aggiorna orologio | Update clock | Mise à jour horloge | Actualizar reloj | Aktualisiert Uhr
FNC00017 | Tacitazione allarmi | Alarm silencing | Acquittement alarmes | Silenciar alarmas | Stummschalten Alarm
FNC00018 | Abilita autotest | Autotest On | Activation autotest | Habilitar autotest | Aktiviert Autotest
FNC00019 | Resetta indicatore parametri modificati | Reset changed parameters indicator | RAZ indicateur paramètres modifiés | Resetear indicador parámetros modificados | Reset Anzeiger geänderte Parameter
FNC00020 | Abilita modalità collaudo | Test Mode On | Valide modalité test | Habilitar modalidad ensayo | Aktiviert Prüfmodus
FNC00021 | Disabilita modalità collaudo | Test Mode Off | Désactive modalité test | Inhabilitar modalidad ensayo | Deaktiviert Prüfmodus
FNC00022 | Abilita uscita | Output On | Valide sortie | Habilitar salida | Aktiviert Ausgang
FNC00023 | Disabilita uscita | Output Off | Désactive sortie | Inhabilitar salida | Deaktiviert Ausgang
FNC00024 | Reset allarme alta temperatura | High temperature reset alarm | RAZ alarme haute température | Resetear alarma alta temperatura | Reset Höchsttemperaturalarm
FNC00025 | Reset allarme bassa temperatura | Low temperature reset alarm | RAZ alarme basse température | Resetear alarma baja temperatura | Reset Untertemperaturalarm
FNC00026 | Reset allarme anomalia di regolazione | Regulation error reset alarm | RAZ alarme problème de réglage | Resetear alarma anomalía de regulación | Reset Alarm Störung der Regelung
FNC00027 | Reset allarme flusso free cooling | Free cooling flow reset alarm | RAZ alarme flux free cooling | Resetear alarma flujo refrigeración natural | Reset Strömungsalarm Freecooling
FNC00028 | Reset allarme termica pompa free cooling | Free cooling pump thermal switch reset alarm | RAZ alarme déclench.thermique pompe free cooling | Resetear alarma térmica bomba refrigeración natural | Reset Alarm Thermoschutz Pumpe Freecooling
FNC00029 | Reset allarme termica pompa heat recovery | Heat recovery pump thermal switch reset alarm | RAZ alarme déclench.thermique pompe heat recovery | Resetear alarma térmica bomba recuperación calor | Reset Alarm Thermoschutz Pumpe heat recovery
FNC00030 | Reset allarme flusso heat recovery | Heat recovery flow reset alarm | RAZ alarme flux heat recovery | Resetear alarma flujo recuperación calor | Reset Strömungsalarm heat recovery
FNC00031 | Reset allarme allarme flussostato | Reset alarm flow switch alarm | RAZ alarme fluxostat | Resetear alarma alarma flujostato | Reset Alarm Strömungswächter
FNC00032 | Reset allarme pompa 0 e 1 non disponibile | Pump 0 and 1 not available reset alarm | RAZ alarme pompe 0 et 1 non disponible | Resetear alarma bomba 0 y 1 no disponible | Reset Alarm Pumpe 0 und 1 nicht verfügbar
FNC00033 | Reset allarme termica gruppo pompe | Pump group thermal switch reset alarm | RAZ alarme déclench.thermique groupe pompes | Resetear alarma térmica grupo bombas | Reset Alarm Thermoschutz Pumpeneinheit
FNC00034 | On ciclo continuo | Continuous Cycle On | On cycle continu | On ciclo continuo | On kontinuierlicher Zyklus
FNC00035 | Off ciclo continuo | Continuous Cycle Off | Off cycle continu | Off ciclo continuo | Off kontinuierlicher Zyklus
FNC00036 | On soft start | Soft Start On | On soft start | On arranque suave | On soft start
FNC00037 | Off soft start | Soft Start Off | Off soft start | Off arranque suave | Off soft start
FNC00038 | On autotuning | Autotuning On | On autotuning | On autotuning | On autotuning
FNC00039 | Off autotuning | Autotuning Off | Off autotuning | Off autotuning | Off autotuning
FNC00040 | Resetta programma spezzate | Sequence program reset | RAZ programme sections | Resetear programa quebradas | Reset Programm Abschnitte
FNC00041 | Avvia/continua programma spezzate 1 | Sequence 1 program start/continue | Lancer/continuer programme sections 1 | Iniciar/continuar programa quebradas 1 | Start/Fortsetzen Programm Abschnitte 1
FNC00042 | Avvia/continua programma spezzate 2 | Sequence 2 program start/continue | Lancer/continuer programme sections 2 | Iniciar/continuar programa quebradas 2 | Start/Fortsetzen Programm Abschnitte 2
FNC00043 | Sospendi programma spezzate | Sequence program stop | Suspendre programme sections | Suspender programa quebradas | Stopp Programm Abschnitte
FNC00044 | Uscita modalità programma | Program mode output | Sortie modalité programme | Salir de modalidad programa | Ausgang Modalität Programm
FNC00045 | Disabilita funzione Night & Day | Disable Night & Day functions | Désactivation fonction Night & Day | Inhabilitar función Night & Day | Deaktiviert Funktion Night & Day
FNC00046 | Abilita funzione Night & Day | Enable Night & Day functions | Validation fonction Night & Day | Habilitar función Night & Day | Aktiviert Funktion Night & Day
FNC00047 | Reset allarmi HACCP | Reset HACCP alarms | RAZ alarmes HACCP | Resetear alarmas HACCP | Reset HACCP-Alarme
FNC00048 | Reset Allarmi pressostato | Reset pressure switch alarms | RAZ alarmes pressostat | Resetear Alarmas presostato | Reset Druckschalteralarme
FNC00049 | Disattivazione regolatore Frame Heater | Deactivation Frame Heater | Désactivation régulateur Frame Heater | Desactivar regulador Frame Heater | Deaktivierung Regler Frame Heater
FNC00050 | Attivazione regolatore Frame Heater | Activation Frame Heater | Activation régulateur Frame Heater regulator | Activar regulador Frame Heater regulador | Aktivierung Regler Frame Heater regulator
FNC00051 | Disabilita registrazione allarmi HACCP | Disable HACCP alarm recording | Désactive enregistrement alarmes HACCP | Inhabilitar registro alarmas HACCP | Deaktiviert Aufzeichnung HACCP-Alarme
FNC00052 | Abilita registrazione allarmi HACCP | Enable HACCP alarm recording | Valide enregistrement alarmes HACCP | Habilitar registro alarmas HACCP | Aktiviert Aufzeichnung HACCP-Alarme
FNC00053 | Attivazione regolatore Deep Cooling | Enable Deep Cooling regulator | Activation régulateur Deep Cooling | Activar regulador Deep Cooling | Aktivierung Regler Deep Cooling
FNC00054 | Attivazione regolatore Ciclico | Enable cyclic regulator | Activation régulateur cyclique | Activar regulador Cíclico | Aktivierung zyklischer Regler
FNC00055 | Disattivazione regolatore Ciclico | Disable cyclic regulator | Désactivation régulateur cyclique | Desactivar regulador Cíclico | Deaktivierung zyklischer Regler
FNC00056 | Riarmo manuale allarmi | Alarm manual reset | Réarmement manuel alarmes | Rearme manual alarmas | Manuelle Rücksetzung Alarme
FNC00057 | Reset storico allarmi | Reset alarm history | RAZ historique alarmes | Resetear cronología alarmas | Reset Alarmhistory
FNC00058 | Visualizza prossimo allarme a display | Show next alarm on display | Affiche prochaine alarme | Ver alarma siguiente en display | Anzeige nächster Alarm auf Display
FNC00059 | Attiva/Disattiva economy, sezione di aspirazione | Enable/disable economy, suction section | Activation/Désactivation economy, section aspiration | Activar/Desactivar Economy, sección de aspiración | Aktiviert/Deaktiviert Economy, Saugsektion
FNC00060 | Attiva/Disattiva economy, sezione di mandata | Enable/disable economy, delivery section | Activation/Désactivation economy, section refoulement | Activar/Desactivar Economy, sección de ida | Aktiviert/Deaktiviert Economy, Drucksektion
FNC00061 | Attiva/Disattiva energy saving | Enable/disable energy saving | Activation/Désactivation energy saving | Activar/Desactivar Energy Saving | Aktiviert/Deaktiviert Energy Saving
FNC00062 | Reset ore lavoro compressore pilotato da inverter, sezione di aspirazione | Reset running time of compressor piloted by the inverter, suction section | RAZ heures de travail compresseur contrôlé par inverter, section aspiration | Resetear horas trabajo compresor controlado por inverter, sección de aspiración | Reset Arbeitsstunden invertergesteuerter Kompressor, Saugsektion
FNC00063 | Reset ore lavoro ventola pilotata da inverter, sezione di mandata | Reset running time of the fan piloted by the inverter, delivery section | RAZ heures de travail ventilateur contrôlé par inverter, section refoulement | Resetear horas trabajo ventilador controlado por inverter, sección de ida | Reset Arbeitsstunden invertergesteuertes Gebläse, Drucksektion
FNC00064 | Selezione compressore pilotato da inverter, sezione di aspirazione | Select compressor piloted by inverter, suction section | Sélection compresseur contrôlé par inverter, section aspiration | Seleccionar compresor controlado por inverter, sección de aspiración | Wahl invertergesteuerter Kompressor, Saugsektion
FNC00065 | Attiva forzatura manuale uscite da Service | Force outputs on manually from Service active | Activation forçage manuel sorties de Service | Activar forzado manual salidas de Servicio | Aktiviert Zwangsschaltung der Ausgänge von Service
FNC00066 | Disattiva forzatura manuale uscite da Service | Force outputs on manually from Service not active | Désactivation forçage manuel sorties de Service | Desactivar forzado manual salidas de Servicio | Deaktiviert Zwangsschaltung der Ausgänge von Service
FNC00067 | Richiesta ingresso modo configurazione | Request open configuration mode | Demande d'entrée mode configuration | Solicitar entrada modo configuración | Anforderung Eingang Konfigurationsmodus
FNC00068 | Richiesta uscita modo configurazione | Request exit configuration mode | Demande de sortie mode configuration | Solicitar salida modo configuración | Anforderung Ausgang Konfigurationsmodus
FNC00069 | Disattiva aggiornamento automatico parametri correlati | Disable automatic update of associated parameters | Désactivation mise à jour automatique paramètres associés | Desactivar actualización automática parámetros correlacionados | Deaktiviert automatische Aktualisierung korrelierte Parameter
FNC00070 | Attiva aggiornamento automatico parametri correlati | Automatic update of associated parameters active | Activation mise à jour automatique paramètres associés | Activar actualización automática parámetros correlacionados | Aktiviert automatische Aktualisierung korrelierte Parameter
FNC00071 | Disattiva inserimento allarmi in storico allarmi | Enter alarms to alarm history not active | Désactivation saisie alarmes dans historique alarmes | Desactivar activación alarmas en cronología alarmas | Deaktiviert Einfügen Alarme in Alarmhistory
FNC00072 | Abilita inserimento allarmi in storico allarmi | Enable enter alarms to alarm history | Activation saisie alarmes dans historique alarmes | Habilitar activación alarmas en cronología alarmas | Aktiviert Einfügen Alarme in Alarmhistory
FNC00073 | Funzione party | Party function | Chaud/Froid | Calor/Frío | Heizen/Kühlen
FNC00074 | Riscaldamento/Raffrescamento | Heating/Cooling | Toggle HEAT/COOL | Biestable T CALOR/FRÍO | Toggle HEAT/COOL
FNC00075 | Abilita programma spezzate | Enable sequence program | Valide programme sections | Habilitar programa quebradas | Aktiviert Programm Abschnitte
FNC00076 | Abilita programma spezzate | Enable sequence program | Valide programme sections | Habilitar programa quebradas | Aktiviert Programm Abschnitte
FNC00077 | Disabilita programma spezzate | Disable sequence program | Désactive programme sections | Inhabilitar programa quebradas | Deaktiviert Programm Abschnitte
FNC00078 | Attiva funzione pressione breve F1 | Short-press function F1 key active | Valide fonction enfoncement bref F1 | Activar función presión breve F1 | Aktiviert Funktion kurzes Drücken F1
FNC00079 | Attiva funzione pressione breve F2 | Short-press function F2 key active | Valide fonction enfoncement bref F2 | Activar función presión breve F2 | Aktiviert Funktion kurzes Drücken F2
FNC00080 | Attiva funzione pressione breve F3 | Short-press function F3 key active | Valide fonction enfoncement bref F3 | Activar función presión breve F3 | Aktiviert Funktion kurzes Drücken F3
FNC00081 | Attiva funzione pressione breve << | Short-press function << key active | Valide fonction enfoncement bref << | Activar función presión breve << | Aktiviert Funktion kurzes Drücken <<
FNC00082 | Attiva funzione pressione breve >> | Short-press function >> key active | Valide fonction enfoncement bref >> | Activar función presión breve >> | Aktiviert Funktion kurzes Drücken >>
FNC00083 | Attiva funzione pressione breve OK | Short-press function OK active | Valide fonction enfoncement bref OK | Activar función presión breve OK | Aktiviert Funktion kurzes Drücken OK
FNC00084 | Attiva funzione pressione lunga F1 | Long-press function F1 key active | Valide fonction enfoncement prolongé F1 | Activar función presión prolongada F1 | Aktiviert Funktion langes Drücken F1
FNC00085 | Attiva funzione pressione lunga F2 | Long-press function F2 key active | Valide fonction enfoncement prolongé F2 | Activar función presión prolongada F2 | Aktiviert Funktion langes Drücken F2
FNC00086 | Attiva funzione pressione lunga F3 | Long-press function F3 key active | Valide fonction enfoncement prolongé F3 | Activar función presión prolongada F3 | Aktiviert Funktion langes Drücken F3
FNC00087 | Attiva funzione pressione lunga << | Long-press function << key active | Valide fonction enfoncement prolongé << | Activar función presión prolongada << | Aktiviert Funktion langes Drücken <<
FNC00088 | Attiva funzione pressione lunga >> | Long-press function >> key active | Valide fonction enfoncement prolongé >> | Activar función presión prolongada >> | Aktiviert Funktion langes Drücken >>
FNC00089 | Attiva funzione pressione lunga OK | Long-press function OK active | Valide fonction enfoncement prolongé OK | Activar función presión prolongada OK | Aktiviert Funktion langes Drücken OK
FNC00090 | Impostazione Remote Defrost Mode | Remote configuration Defrost Mode | Configuration Remote Defrost Mode | Configuración Modo Descarche Remoto | Einstellung Remote Defrost Mode
FNC00091 | Attivazione di Defrost Remoto | Activate Remote Defrost | Validation Defrost à distance | Activación de Descarche Remoto | Aktivierung Fernabtauung
FNC00092 | Disattivazione Defrost Remoto | Disable Remote Defrost | Désactivation Defrost à distance | Desactivación Descarche Remoto | Deaktivierung Fernabtauung
FNC00093 | Attivazione Remote Set Point | Active Remote Set Point | Validation Remote Set Point | Activación punto de intervención Remoto | Aktivierung Remote Set Point
FNC00094 | Attivazione input simulato | Activate simulated input | Validation input simulé | Activación entrada simulada | Aktivierung simulierter Input
FNC00095 | Richiesta Blocco per misura refrigerante impianto | Request stop to measure refrigerant level in plant | Demande de verrouillage pour mesure liquide de refroid. installation | Solicitud bloqueo para medición refrigerante instalación | Abschaltanforderung für Kältemittelmessung Anlage
FNC00096 | Lettura ritardo prima del Blocco per misura refrigerante | Read delay before stop to measure refrigerant level | Lecture retard avant verrouillage pour mesure liquide de refroid. | Lectura retardo antes de bloqueo para medición refrigerante | Ablesen Verzögerung vor Abschaltung für Kältemittelmessung
FNC00097 | Blocco per misura del refrigerante | Stop to measure refrigerant level | Verrouillage pour mesure liquide de refroid. | Bloqueo para medición del refrigerante | Abschaltung für Kältemittelmessung
FNC00098 | Avvia scarico registrazioni da seriale | Start downloading logged data via serial | Lance téléchargement enregistrements via port série | Iniciar descarga registro desde puerto serie | Startet Download Aufzeichnungen von seriellem Port
FNC00099 | Avvia scarico storico allarmi da seriale | Start downloading alarm history via serial | Lance téléchargement historique via port série | Iniciar descarga cronología desde puerto serie | Startet Download Alarmhistory von seriellem Port
FNC00100 | Annulla scarico seriale | Cancel download via serial | Annule téléchargement série | Cancelar descarga puerto serie | Annulliert Download von seriellem Port
FNC00101 | Abilita autotuning all'accensione | Enable autotuning at power-on | Valide autotuning à l'allumage | Habilitar autotuning al encender | Aktiviert Autotuning bei Einschaltung
FNC00102 | Disabilita autotuning all'accensione | Disable autotuning at power-on | Désactive autotuning à l'allumage | Inhabilitar autotuning al encender | Deaktiviert Autotuning bei Einschaltung
FNC00103 | Seleziona Modo COOL | Select mode COOL | Sélection Mode COOL | Seleccionar Modo COOL | Betriebsart COOL wählen
FNC00104 | Seleziona Modo HEAT | Select mode HEAT | Sélection Mode HEAT | Seleccionar Modo HEAT | Betriebsart HEAT wählen
FNC00105 | Seleziona Modo STAND BY | Select mode STAND BY | Sélection Mode STAND BY | Seleccionar Modo STAND BY | Betriebsart STAND BY wählen
FNC00106 | Seleziona Modo ON/OFF | Select mode ON/OFF | Sélection Mode ON/OFF | Seleccionar Modo ON/OFF | Betriebsart ON/OFF wählen
FNC00107 | Regolazione valvola ON | Enable valve control ON | Activation régulation vanne ON | Habilitación para regulación de la válvula ON | Freigabe Ventilregelung ON
FNC00108 | Regolazione valvola OFF | Enable valve control OFF | Activation régulation vanne OFF | Habilitación para regulación de la válvula OFF | Freigabe Ventilregelung OFF
FNC00109 | Stato Sbrinamento ON | Defrosting status ON | Etat dégivrage ON | Estado descarche ON | Zustand Abtauung ON
FNC00110 | Stato Sbrinamento OFF | Defrosting status OFF | Etat dégivrage OFF | Estado descarche OFF | Zustand Abtauung OFF
FNC00111 | Stato allarme ON | Alarm ON | Alarme ON | Alarma ON | Alarm ON
FNC00112 | Stato allarme OFF | Alarm OFF | Alarme OFF | Alarma OFF | Alarm OFF
FNC00113 | reserved | reserved | reserved | reserved | reserved
FNC00114 | reserved | reserved | reserved | reserved | reserved
FNC00115 | Reset dispositivo | Device Reset | Reset Dispositif | Reset Dispositivo | Vorrichtung Reset
FNC00116 | Seleziona modo AS | Select mode AS | Sélection Mode AS | Seleccionar Modo AS | Betriebsart AS wählen
FNC00117 | Abilitazione/Disabilitazione fasce orarie | Enable/Disable band operation | Activation/Désactivation tranches horaires | Habilitación/Desactivación gestión de bandas horarias | Aktivieren/Deaktivieren Zeitschienen
FNC00118 | Attivazione energy saving | Energy saving function activation | Activation fonction energy saving | Activación función energy saving | Einschaltung Energiesparfunktion
FNC00119 | Disattivazione energy saving | Energy saving function deactivation | Désactivation fonction energy saving | Desactivación función energy saving | Ausschaltung Energiesparfunktion
FNC40005 | Attiva uscita ausiliaria {0} | Auxiliary output On {0} | Active sortie auxiliaire {0} | Activar salida auxiliar {0} | Aktiviert Hilfsausgang {0}
FNC40006 | Disattiva uscita ausiliaria {0} | Auxiliary output Off {0} | Désactive sortie auxiliaire {0} | Desactivar salida auxiliar {0} | Deaktiviert Hilfsausgang {0}
FNC40015 | Sbrinamento {0} | Defrost {0} | Dégivrage {0} | Descarche {0} | Abtauen {0}
FNC40022 | Abilita uscita {0} | Output On {0} | Valide sortie {0} | Habilitar salida {0} | Aktiviert Ausgang {0}
FNC40023 | Disabilita uscita {0} | Output Off {0} | Désactive sortie {0} | Inhabilitar salida {0} | Deaktiviert Ausgang {0}
FNC40024 | Reset allarme massima pressione circuito 1 | Circuit 1 maximum pressure reset alarm | RAZ alarme pression maxi circuit 1 | Resetear alarma presión máxima circuito 1 | Reset Höchstdruckalarm Kreislauf 1
FNC40025 | Reset allarme minima pressione circuito {0} | Circuit {0} minimum pressure reset alarm | RAZ alarme pression mini circuit {0} | Resetear alarma presión mínima circuito {0} | Reset Niederdruckalarm Kreislauf {0}
FNC40026 | Reset allarme termica compressore {0} | Compressor {0} thermal switch reset alarm | RAZ alarme déclench.thermique compresseur {0} | Resetear alarma térmica compresor {0} | Reset Alarm Thermoschutz Kompressor {0}
FNC40027 | Reset allarme temperatura scarico compressore {0} | Compressor {0} discharge temperature reset alarm | RAZ alarme température évacuation compresseur {0} | Resetear alarma temperatura descarga compresor {0} | Reset Alarm Entladetemperatur Kompressor {0}
FNC40028 | Reset allarme pressione differenziale olio compressore {0} | Compressor {0} oil pressure differential reset alarm | RAZ alarme pression différentiel huile compresseur {0} | Resetear alarma presión diferencial aceite compresor {0} | Reset Alarm Öldruckdifferenz Kompressor {0}
FNC40029 | Reset allarme pressostato pressione olio compressore {0} | Compressor {0} oil pressure pressure switch reset alarm | RAZ alarme pressostat pression huile compresseur {0} | Resetear alarma presostato presión aceite compresor {0} | Reset Alarm Öldifferenzdruckschalter Kompressor {0}
FNC40030 | Reset allarme antigelo evaporatore {0} | Evaporator {0} antifreeze reset alarm | RAZ alarme antigel évaporateur {0} | Resetear alarma antihielo evaporador {0} | Reset Frostschutzalarm Verdampfer {0}
FNC40031 | Reset allarme termica ventola {0} | Fan {0} thermal switch reset alarm | RAZ alarme déclench.thermique ventilateur {0} | Resetear alarma térmica ventilador {0} | Reset Alarm Thermoschutz Gebläse {0}
FNC40032 | Reset allarme termica pompa acqua {0} | Water pump {0} thermal switch reset alarm | RAZ alarme déclench.thermique pompe à eau {0} | Resetear alarma térmica bomba agua {0} | Reset Alarm Thermoschutz Wasserpumpe {0}
FNC40033 | Reset allarme antifreeze circuito secondario {0} | Secondary circuit {0} antifreeze reset alarm | RAZ alarme antifreeze circuit secondaire {0} | Resetear alarma antihielo circuito secundario {0} | Reset Alarm antifreeze Sekundärkreis {0}
FNC40034 | Seleziona Modo {0} | Select mode {0} | Sélection Mode {0} | Seleccionar Modo {0} | Betriebsart {0} wählen
FNC40035 | Attivazione funzione associata a pressione breve tasto {0} | Activate function associated to short press of {0} key | Validation fonction associée à l'enfoncement bref de la touche {0} | Activación función asociada a presión breve tecla {0} | Aktivierung zugewiesene Funktion bei kurzem Drücken der Taste {0}
FNC40036 | Attivazione funzione associata a pressione lunga tasto {0} | Activate function associated to long press of {0} key | Validation fonction associée à l'enfoncement prolongé de la touche {0} | Activación función asociada a presión prolongada tecla {0} | Aktivierung zugewiesene Funktion bei langem Drücken der Taste {0}
FNC40037 | Attiva/Disattiva economy, sezione di aspirazione {0} | Enable/disable economy, suction section{0} | Activation/Désactivation economy, section aspiration {0} | Activar/Desactivar Economy, sección de aspiración {0} | Aktiviert/Deaktiviert Economy, Saugsektion {0}
FNC40038 | On/Off ausiliario {0} | On/Off Auxiliary {0} | On/Off auxiliaire {0} | On/Off auxiliar {0} | On/Off Aux {0}
FNC40039 | Reset ore lavoro compressore {0} | Reset compressor running time {0} | RAZ heures de travail compresseur {0} | Resetear horas trabajo compresor {0} | Reset Arbeitsstunden Kompressor {0}
FNC40040 | Reset ore lavoro compressore pilotato da inverter, sezione di aspirazione {0} | Reset running time of compressor piloted by inverter, suction section {0} | RAZ heures de travail compresseur contrôlé par inverter, section aspiration {0} | Resetear horas trabajo compresor controlado por inverter, sección de aspiración {0} | Reset Arbeitsstunden invertergesteuerter Kompressor, Saugsektion {0}
FNC40041 | Reset ore di lavoro ventola {0} | Reset fan running hours {0} | RAZ heures de travail ventilateur {0} | Resetear horas de trabajo ventilador {0} | Reset Arbeitsstunden Gebläse {0}
FNC40042 | Selezione compressore {0} | Select compressor {0} | Sélection compresseur {0} | Selección compresor {0} | Wahl Kompressor {0}
FNC40043 | Selezione/Deselezione compressore pilotato da inverter, sezione di aspirazione {0} | Select/deselect compressor piloted by inverter, suction section {0} | Sélection/Désélection compresseur contrôlé par inverter, section aspiration {0} | Selección/Deselección compresor controlado por inverter, sección de aspiración {0} | Wahl/Abwahl invertergesteuerter Kompressor, Saugsektion {0}
FNC40044 | Forza uscita digitale {0} attiva da Service | Force digital output {0} from Service active | Force sortie numérique {0} activée par Service | Forzar salida digital {0} activar desde Servicio | Schaltet Digitalausgang {0} aktiv durch Service
FNC40045 | Forza 100% uscita analogica {0} da Service | Force 100% analogue output {0} from Service | Force 100% sortie analogique {0} de Service | Forzar 100% salida analógica {0} desde Servicio | Schaltet 100% Analogausgang {0} durch Service
FNC40046 | Forza uscita digitale {0} inattiva da Service | Force digital output {0} from Service inactive | Force sortie numérique {0} désactivée par Service | Forzar salida digital {0} desactiva desde Servicio | Schaltet Digitalausgang {0} inaktiv durch Service
FNC40047 | Forza 0% uscita analogica {0} da Service | Force 0% analogue output {0} from Service | Force 0% sortie analogique {0} de Service | Forzar 0% salida analógica {0} desde Servicio | Schaltet 0% Analogausgang {0} durch Service
FNC40048 | Selezione modo funzionamento {0} | Selection control for functioning mode {0} | Sélection du mode de fonctionnement | Comando selección modo de funcionamiento {0} | Auswahlbefehl für Funktionsmodus