## Driver
1.1
1 - General Section
| User name | Claudio Paris
| Date | 2005-02-07
| Driver file name | EXTPRT_7FFC_01D6
| Driver description | SAMPLE DEVICE
| RS 485 | 9600 | E
| Address for scan | 0 | 5
| 2 - Identify Section | NOTE! Hex number must be in this format: &H..
| Number of commands | 1
| Command | Condition number | 1° Condition | 2° Condition | 3° Condition | 4° Condition | 5° Condition
| &H2B;&HE;&H4;&H2 | 2 | BYTE(12)=&H44 | BYTE(13)=&H36
3 - Resources Section
| Type | Number | Number of commands |  | Element 1 | Element 2 | Element 3 | Element 4 | Element 5 | Element 6 | Element 7 | Element 8 | Element 9 | Element 10 | Element 11 | Element 12 | Element 13 | Element 14 | Element 15 | Element 16 | Element 17 | Element 18 | Element 19 | Element 20 | Element 21 | Element 22 | Element 23 | Element 24 | Element 25 | Element 26 | Element 27 | Element 28 | Element 29 | Element 30 | Element 31 | Element 32
| 1 - Analog Input | 4 | 1 | Unit | 0 | 0 | 0 | 0
|  |  |  | Dec Pos | 1 | 1 | 1 | 1
| 2 - Digital Input | 1 | 1
| 3 - States | 4 | 1 | State Code | 1501 | 1502 | 1503 | 1504
| 4 - Alarms | 2 | 2 | Alarm Code | 502 | 504
| Type | Command | Value 1 | Value 2 | Value 3 | Value 4 | Value 5 | Value 6 | Value 7 | Value 8 | Value 9 | Value 10 | Value 11 | Value 12 | Value 13 | Value 14 | Value 15 | Value 16 | Value 17 | Value 18 | Value 19 | Value 20 | Value 21 | Value 22 | Value 23 | Value 24 | Value 25 | Value 26 | Value 27 | Value 28 | Value 29 | Value 30 | Value 31 | Value 32
| 1 | &H3;&H20;&H75;&H0;&H4 | 2 Value 1: BYTE(3)*256+BYTE(4);SIGNED; Alarm Code Value 2: BYTE(5)*256+BYTE(6);SIGNED; 502 Value 3: BYTE(7)*256+BYTE(8);SIGNED; 504 Value 4: BYTE(9)*256+BYTE(10);SIGNED
| 2 | &H3;&H22;&H64;&H0;&H1 | 2 Value 1: (BYTE(4) AND &H1) <>0
| 3 | &H3;&H23;&H68;&H0;&H1 | 2 Value 1: (BYTE(4) AND &H40) <>0; Alarm Code Value 2: (BYTE(4) AND &H20) <>0; 502 Value 3: (BYTE(4) AND &HE0) = 0; 504 Value 4: (BYTE(4) AND &H80) <>0
| 4 | &H3;&H23;&H66;&H0;&H1 | 2 Value 1: (BYTE(4) AND &H10) <> 0
| 4 | &H3;&H23;&H68;&H0;&H1 | Alarm Code Value 2: (BYTE(4) AND &H10) <> 0
BYTE = valore in un byte
| 4 - Parameters Section | Number | 2 Value 1: 7; 504 Value 10: HBYTE = byte alto word
LBYTE = byte basso word
| Code | Label | 2 Value 1: Unit code; Alarm Code Value 2: Min Type; 502 Value 3: Min Value; 504 Value 4: Max Type; 504 Value 5: Max Value; 504 Value 6: Defalt Value; 504 Value 7: Type; 504 Value 8: Resolution; 504 Value 9: Command Read; 504 Value 10: Command Write; 504 Value 11: Decode Read; 504 Value 12: Start Bit; 504 Value 13: Number of Bits
1 | 1 | SP_C | 2 Value 1: 0; Alarm Code Value 2: 1; 502 Value 3: 100; 504 Value 4: 1; 504 Value 5: 500; 504 Value 6: 150; 504 Value 7: 2; 504 Value 8: -1; 504 Value 9: &H3;&H18;&H0;&H0;&H1; 504 Value 10: &H10;&H18;&H0;&H0;&H1;&H2;HBYTE;LBYTE; 504 Value 11: BYTE(3)*256+BYTE(4); 504 Value 12: 0; 504 Value 13: 0
2 | 2 | SP_H | 2 Value 1: 0; Alarm Code Value 2: 1; 502 Value 3: 100; 504 Value 4: 1; 504 Value 5: 500; 504 Value 6: 150; 504 Value 7: 2; 504 Value 8: -1; 504 Value 9: &H3;&H18;&H2;&H0;&H1; 504 Value 10: &H10;&H18;&H2;&H0;&H1;&H2;HBYTE;LBYTE; 504 Value 11: BYTE(3)*256+BYTE(4); 504 Value 12: 0; 504 Value 13: 0
3 | 3 | CA1 | 2 Value 1: 0; Alarm Code Value 2: 1; 502 Value 3: -128; 504 Value 4: 1; 504 Value 5: 127; 504 Value 6: 0; 504 Value 7: 2; 504 Value 8: -1; 504 Value 9: &H3;&H18;&H20;&H0;&H1; 504 Value 10: &H10;&H18;&H20;&H0;&H1;&H2;HBYTE;LBYTE; 504 Value 11: BYTE(3)*256+BYTE(4); 504 Value 12: 0; 504 Value 13: 0
4 | 4 | CA2 | 2 Value 1: 0; Alarm Code Value 2: 1; 502 Value 3: -128; 504 Value 4: 1; 504 Value 5: 127; 504 Value 6: 0; 504 Value 7: 2; 504 Value 8: -1; 504 Value 9: &H3;&H18;&H22;&H0;&H1; 504 Value 10: &H10;&H18;&H22;&H0;&H1;&H2;HBYTE;LBYTE; 504 Value 11: BYTE(3)*256+BYTE(4); 504 Value 12: 0; 504 Value 13: 0
5 | 5 | CA3 | 2 Value 1: 0; Alarm Code Value 2: 1; 502 Value 3: -128; 504 Value 4: 1; 504 Value 5: 127; 504 Value 6: 0; 504 Value 7: 2; 504 Value 8: -1; 504 Value 9: &H3;&H18;&H24;&H0;&H1; 504 Value 10: &H10;&H18;&H24;&H0;&H1;&H2;HBYTE;LBYTE; 504 Value 11: BYTE(3)*256+BYTE(4); 504 Value 12: 0; 504 Value 13: 0
6 | 6 | TEL_GES | 2 Value 1: 2; Alarm Code Value 2: 1; 502 Value 3: 0; 504 Value 4: 1; 504 Value 5: 3; 504 Value 6: 0; 504 Value 7: 9; 504 Value 8: 0; 504 Value 9: &H3;&H19;&H44;&H0;&H1; 504 Value 10: &H10;&H19;&H44;&H0;&H1;&H2;HBYTE;LBYTE; 504 Value 11: BYTE(3)*256+BYTE(4); 504 Value 12: 0; 504 Value 13: 2
7 | 7 | ADDR | 2 Value 1: 2; Alarm Code Value 2: 1; 502 Value 3: 1; 504 Value 4: 1; 504 Value 5: 255; 504 Value 6: 1; 504 Value 7: 2; 504 Value 8: 0; 504 Value 9: &H3;&H1A;&H32;&H0;&H1; 504 Value 10: &H10;&H1A;&H32;&H0;&H1;&H2;HBYTE;LBYTE; 504 Value 11: BYTE(3)*256+BYTE(4); 504 Value 12: 0; 504 Value 13: 0
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50