## Лист1
| Chiller |  | Heat pump (unflugged)
| "Condenser" probe | "Evaporator" probe | "Condenser" probe | "Evaporator" probe
Low pressure alarm |  | x | x
High pressure alarm | x |  |  | x
fans control | x |  | x
Go on to Defrost |  |  | x
in Defrost |  |  | x
Go out from Defrost |  |  | x
see Chiller-HeatPump(HP unflugged).bmp
| Chiller |  | Heat pump (flugged)
| "Condenser" probe | "Evaporator" probe | "Discharge comp" probe | "Suction comp" probe
Low pressure alarm |  | x |  | x
High pressure alarm | x |  | x
fans control | x |  |  | x
Go on to Defrost |  |  |  | x
in Defrost |  |  | x
Go out from Defrost |  |  | x
see Chiller-HeatPump(HP flugged)_1.bmp