## Лист1
| Chiller |  | Heat pump (unflugged) |  | Heat pump (flugged)
| "Condenser" probe | "Evaporator" probe | "Condenser" probe | "Evaporator" probe | "Condenser" probe | "Evaporator" probe
Low pressure alarm |  | x | x |  |  | x
High pressure alarm | x |  |  | x | x
"Condenser" fans control | x |  | x |  |  | x
Go on to Defrost |  |  | x |  |  | x
in Defrost |  |  | x |  | x
Go out from Defrost |  |  | x |  | x
"Evaporator" mean sdtay at Evaporator in Chiller mode
"Condenser" mean sdtay at Condenser in Chiller mode